## Quality Control
IN-PROCESS AND FINAL QUALITY CONTROL FORM FR1002/00/141125
Work Order No |  |  | Planned Production Quantity
Product Name / Code |  |  | Actual Production Quantity
Lot Number |  |  | Planned Production Date
Production Date |  |  | Actual Production Date
Expiry Date
PRE-PRODUCTION INSPECTIONS
Inspection Step |  | Inspection Result Found |  |  | Error Description and Corrections (if any) | Conforming / Nonconforming | Nonconformity No
Raw material stock inspection
Consumable material stock inspection
Production area cleanliness conformity
Validity of calibration of equipment to be used in production
Validity of maintenance of production equipment
Required personal protective equipment inspection
Error Description / Related Record (if any)
Date | Inspected By |  |  | Approval
MEASURING EQUIPMENT INFORMATION AND INSPECTIONS
Equipment Name |  | Equipment Code |  |  | Calibration Validity Date | Conforming / Nonconforming | Nonconformity No
Cabinet
Micropipette
qPCR Instrument
Reference Material Quantity
Error Description / Related Record (if any)
Date | Inspected By |  |  | Approval
PRODUCTION SPECIFICATION INSPECTIONS
Sample Information
Inspection Step | Required Specifications | Inspection Result Found |  |  | Error Description and Corrections (if any) | Accept | Reject
Primer Probe Quantity
Error Description / Related Record (if any)
Date | Inspected By |  |  | Approval
FILLING AND CAPPING INSPECTIONS
Inspection Step |  | Inspection Result Found |  |  | Error Description and Corrections (if any) | Accept | Reject
Liquid inspection around tube and on platform during aliquoting
Filling tube integrity / sterility / dust or particle inspection
Any leakage after capping
Fill volume inspection
Error Description / Related Record (if any)
Date | Inspected By |  |  | Approval
LABELING AND PACKAGING INSPECTIONS
Inspection Step |  | Inspection Result Found |  |  | Error Description and Corrections (if any) | Accept | Reject
Label presence inspection on each product
Lot number presence and accuracy inspection
Production date presence and accuracy inspection
Expiry date presence and accuracy inspection
Symbols shall be complete and legible
Label inspection on outer box
Outer box closure inspection
Error Description / Related Record (if any)
Date | Inspected By |  |  | Approval
FINAL INSPECTION AND PRODUCT RELEASE APPROVAL
Certificate of Analysis No:
Inspection Criteria | [5 empty] | Yes | No
Completion of all product inspections
Conformity of all inspection results
Product readiness for shipment
Error Description / Related Record (if any)
All production, inspection, deviation, and other related records pertaining to the lot specified above have been reviewed by Quality Assurance. The final decision has been made based on this review.
FINAL DECISION | ☐ RELEASED It has been verified that the lot has been manufactured and inspected in conformity with the approved specifications and the requirements of the company's quality management system. |  |  | ☐ REJECTED It has been determined that the lot has not been manufactured in conformity with the approved specifications and the requirements of the company's quality management system.
REMARKS
Date | Inspected By |  |  | Approval