Quality management system - Genomer

- ISO 13485 Certificate. Certification audit report. Were any nonconformities identified? If yes, a CAPA (Corrective and Preventive Action) plan should be provided.

- As we were in a hurry to get the certification, we got the ISO certification from a firm that is working with our outside consultant. They agreed to first issue the certificate, then come for a visit because we weren’t ready at the time. We will have the audit during this month. After that I can share with you the report they will prepare.

- Quality Manual. List of procedures. Organizational structure. Need to be provided

- Quality manual and list of procedures file: ISO 13485 KEK01 R00 T141125, Management Review Process

- Organizational structure file: Organization Chart

- Genomer Internal Audits. Examples of internal audit records (Plan, report, auditor training certificates)?

- You may find the internal audit file attached. It is in Turkish though : 050126 2026-01 İç Tetkik Raporu

- Given that you have  a valid certificate, you should have staff with the necessary competence in document development. – Alp? Please provide his background

- Elife and Alp both are working on document preparation. Their only responsibility now is to get us ready for IVDR certification. We are also working with an outside consultant who is helping us to prepare every document. You may find their CVs attached.

- Plan for organizing production areas.

- I added the plan for organizing production areas : Plan.docx. As discussed this is only a plan not a reflection of our current production area, we need to make constructions in order to have this planned area.

- If there is a laboratory designated for:

- Incoming inspection of bulk materials/reagents (if necessary);

- In-process/stage-by-stage control (if necessary);

- Acceptance testing (mandatory).

- You may find the following procedures attached : FR1001-00-141125 INCOMING QUALITY CONTROL FORM, FR1002-00-141125 IN-PROCESS AND FINAL QUALITY CONTROL FORM, PL1001-00-141125 INCOMING QUALITY CONTROL PLAN, PL1002-00-141125 IN-PROCESS AND FINAL QUALITY CONTROL PLAN.

- Organization of an Archive for arbitration/reference samples is required.

- ISO 13485 Certificate. Scope of certification – "Research and experimental development activities in biotechnology, production and sales…". During an IVDR audit, records for the following processes will be required:

- You may find the certificate attached : GENOMER C-US-13095004160 EN

- Design and development; We are expecting technical documetation and details from DNA-TECHNOLOGY in order to start with this procedure

- Post-market surveillance, safety reports (PSUR - Periodic Safety Update Reports). For PMS and PSUR we cannot provide any documents since we didn’t start with the production yet.